## Disclaimer
Our policy is one of continuous development. Accordingly the design of our products may change at any time.
Whilst every effort is made to produce up to date literature, this document should only be regarded as a guide and is intended for information purposes only.
Its contents do not constitute an offer for sale or advice on the application of any product referred to in it. We cannot be held responsible for any reliance on any decisions taken on its contents without specific advice.

## Cortec
Information required with Order :
Variants | Order Number
|  | 1 - 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12-13 | 14 | 15
Model Type | bar: 1 - 4 to 11
Dual Powered Over current Relay |  | 1 - 4: P15D
Auxilliary Voltage | bar: 5 to 11
24 – 50 V DC | bar: 5 to 11
100 – 230 VAC/DC |  | 5: 2
Current /Voltage transformer Rating | bar: 6 to 11
In=1 A , Vn= N/A | bar: 6 to 11
In=5 A , Vn= N/A |  | 6: 2
Hardware Options | bar: 7 to 11
EIA RS485 only | bar: 7 to 11
I/O Options | bar: 8 to 11
Standard Input (1 Remote Trip + 1 CB-NO + 2 General propose Input) | bar: 8 to 11
Standard Output (1 Low Energy Tripping + 1 External Flag Indication + 1 C/O HR +1 C/O SR) | bar: 9 to 11
Communication protocol | bar: 9 to 11
Modbus / IEC 60870-5-103 | bar: 9 to 11
Case | bar: 10 to 11
Non drawout | bar: 10 to 11
Language | bar: 11
English |  | 11: 0
Software Reference
Initial release (v1.xx) |  | 12-13: 01
Customisation / Regionalisation
Default |  | 14: 0
Customer specific | bar: 14
Hardware design suffix
Initial release | bar: 15

## Configurator
To enable only current variants to be offered, please specify ACTUAL or REQUIRED delivery date here
Format = dd/mm/yy (where d=day, m=month, y=year)
|  | 1-4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12-13 | 14 | 15
|  | P15D | 1 | 1 | 1 | A | 1 | A | 0 | 01 | 0 | A
Model Type | bar: 1-4 to 10
P15D
Auxilliary Voltage | bar: 1-4 to 10
1
Current /Voltage transformer Rating | bar: 1-4 to 10
1
Hardware Options | bar: 1-4 to 10
1
I/O Options | bar: 1-4 to 10
A
Communication protocol | bar: 1-4 to 10
1
Case | bar: 1-4 to 10
A
Language | bar: 1-4 to 10
0
Software Version | bar: 1-4 to 11
01
Customisation / Regionalisation
0
Design Suffix | bar: 1-4 to 10; 12-13
A

## Documents (hidden)
P15D111A1A0010A |  | MASTER
External Connection Diagram | : | 10P14D01
Outline Diagram | : | ?

## Master Text
P15D111A1A0010A
Dual Powered Over current Relay
Auxilliary Voltage
24 – 50 V DC
Current /Voltage transformer Rating
In=1 A , Vn= N/A
Hardware Options :
EIA RS485 only
I/O Options
Standard Input (1 Remote Trip + 1 CB-NO + 2 General propose Input)
Standard Output (1 Low Energy Tripping + 1 External Flag Indication + 1 C/O HR +1 C/O SR)
Communication protocol :
Modbus / IEC 60870-5-103
Case :
Non drawout
Languages :
English
Software Version :
01
Setting Files :
Default
Design Suffix
Initial release
Issue :
Version : | A | Initial release, see CIDRJWI-9G3G6C - 06/02/2014

## Database (hidden)
| 1 | P15D |  |  |  |  | Significator
1 | Dual Powered Over current Relay | P15D |  |  | P15D |  | P15D
2 | 0 | 0
3 | 0 | 0
| 1 | 1
1 | 24 – 50 V DC | 1 |  |  | 24 – 50 V DC |  | 1
2 | 100 – 230 VAC/DC | 2 |  |  | 100 – 230 VAC/DC |  | 2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
| 1 | P15D1 |  |  | P15D |  | P15D
1 | In=1 A , Vn= N/A | 1 |  |  | In=1 A , Vn= N/A |  | 1
2 | In=5 A , Vn= N/A | 2 |  |  | In=5 A , Vn= N/A |  | 2
3
4
1
| 1 | 1 |  |  | A |  | A |  | A | B | C | D | A | B | C | D
1 | EIA RS485 only | 1 |  |  | EIA RS485 only |  | 1 |  | EIA RS485 only |  | EIA RS485 only | EIA RS485 only | 1 |  | 1 | 1
2 | [6 empty] | 1 | [7 empty] | 1 | 1
3 | [6 empty] | 1 | [7 empty] | 1 | 1
4 | [6 empty] | * |  | EIA RS485 / IRIG-B (demodulated) (Only available with I/O option 'B') |  |  |  | * |  | 1 | 1
5
6
7
8
| 1 | A |  |  | 1b | 1A | 1b | *
1 | Standard Input (1 Remote Trip + 1 CB-NO + 2 General propose Input) | A |  |  | Standard Input (1 Remote Trip + 1 CB-NO + 2 General propose Input) | A | A
2 | Standard Output (1 Low Energy Tripping + 1 External Flag Indication + 1 C/O HR +1 C/O SR) | A |  |  | Standard Output (1 Low Energy Tripping + 1 External Flag Indication + 1 C/O HR +1 C/O SR) | A
3 |  |  |  |  | 0 | A
4
5
6
7
[9 empty] | 1 | 5 | 6 | 8 | 1 | 5 | 6 | 8
| 1 | [7 empty] | Modbus / IEC 60870-5-103 |  |  | Modbus / IEC 60870-5-103 | 1 |  |  | 1
1 | Modbus / IEC 60870-5-103 | 1 |  |  | Modbus / IEC 60870-5-103 |  | 1
2
3
4
5
6
7 | 0 | 0
| 1 | 2 |  |  | A |  | A |  | A | B | C | D | A | B | C | D
1 | Non drawout | A |  |  | Non drawout |  | A |  | Non drawout |  |  |  | A
2
3
4
5
6
7 | 0 | 0
1
1 | English | 0 |  |  | English | English | 0
2
3
2014-02-06
| 1 | 01
1 | Initial release (v1.xx) | 01 | A |  | Initial release (v1.xx) |  | 01 |  | A | Initial release (v1.xx) | 01
2 | [8 empty] | A
3
| 1 | a
1 | Default | 0 |  |  | Default |  | 0
2 | Customer specific | A |  |  | Customer specific |  | A
| 1 | a
1 | Initial release | A
** | 2014-02-06 | A
01 | 2014-02-06 | A
KEY DATE
2014-02-06
|  |  | app | 1
|  |  | ct | 1
|  |  | io | A
|  |  | hw | 1
|  |  | case | A
|  | 1AA11 |  |  |  | 1AA11
|  | 1A0 |  |  |  | 1A21 | 10P14N11
|  | 1A3 | 10P14D11 | 8I/P & 8O/P Std EF for KCGG140/142 Retrofit |  | 1AC11 | 10P14N12
|  | 1A512 | 10P14D01 |  |  | 1AC12 | 10P14N01
|  | 1AC11 | 10P14D12 | 8I/P & 8O/P Std EF |  | 1AC6 | 10P14N03
|  | 1AC12 | 10P14D01 |  |  | 1BC8 | 10P14N05
|  | 1AC6 | 10P14D03 | 8I/P & 8O/P Std EF W/Ethernet
|  | 1B0 |  |  |  | 1CC1 | 10P14N07
|  | 1BC | 10P14D05 | 11I/P & 12O/P Std EF & 2xRS485 |  | 1DC1 | 10P14N09
|  | 1C0 |  |  |  | 2AB1 | 10P14N02
|  | 1CC | 10P14D07 | 11I/P & 12O/P Std EF & TCS |  | 2AC6 | 10P14N04
|  | 1D0 |  |  |  | 2BC8 | 10P14N06
|  | 1DC | 10P14D09 | 13I/P & 12O/P Std EF |  | 2CC1 | 10P14N08
|  | 2AC1 | 10P14D02 | 8I/P & 8O/P SEF |  | 2DC1 | 10P14N10
|  | 2AC6 | 10P14D04 | 8I/P & 8O/P SEF W/Ethernet
|  | 2BC | 10P14D06 | 11I/P & 12O/P SEF & 2xRS485
|  | 2CC | 10P14D08 | 11I/P & 12O/P SEF & TCS
|  | 2DC | 10P14D10 | 13I/P & 12O/P SEF

## Date Drivers (hidden)
Key Date | 2014-02-06
| 2013-03-10 | 2014-02-06
Model
| Dual Powered Over current Relay | Dual Powered Over current Relay
| P15D | P15D
Application Version | 24 – 50 VAC/DC | 24 – 50 V DC
| 100 – 230 VAC/DC | 100 – 230 VAC/DC
| 1 | 1
| 2 | 2
Current Transformer | In=1 A , Vn= N/A | In=1 A , Vn= N/A
| In=5 A , Vn= N/A | In=5 A , Vn= N/A
| 1 | 1
| 2 | 2
Current Transformer | Voltage only | Voltage only
| 1 | 1
| 1 | 1
Hardware Options | EIA RS485 only | EIA RS485 only
| 1 | 1
41
| 40 | 45
41
Product Options | Standard Input (1 Remote Trip + 1 CB-NO + 2 General propose Input) | Standard Input (1 Remote Trip + 1 CB-NO + 2 General propose Input)
| Standard Output (1 Low Energy Tripping + 1 External Flag Indication + 1 C/O HR +1 C/O SR) | Standard Output (1 Low Energy Tripping + 1 External Flag Indication + 1 C/O HR +1 C/O SR)
| A | A
Protocol | Modbus / IEC 60870-5-103 | Modbus / IEC 60870-5-103
| 1 | 1
Mounting | Non drawout | Non drawout
| A | A
| English | English
| 0 | 0
Software | Initial release (v1.xx) | Initial release (v1.xx)
| 01 | 01
Customisation / Regionalisation | Default | Default
| Customer specific | Customer specific
| 0 | 0
| A | A
Ethernet (2) | Two ports - EIA RS485 & EIA RS485 / IRIG-B (demodulated) | Two ports - EIA RS485 & EIA RS485 / IRIG-B (demodulated)
| 8 | 8
| 8 | 8
| 8 | 8
| 8 | 8
| EIA RS485 | EIA RS485
| Two ports - EIA RS 485 and Ethernet - Single channel Copper (Not available with extra I/O) | Two ports - EIA RS 485 and Ethernet - Single channel Copper (Not available with extra I/O)
| Two ports - EIA RS 485 and Ethernet - Single channel Fibre (Not available with extra I/O) | Two ports - EIA RS 485 and Ethernet - Single channel Fibre (Not available with extra I/O)
| Two ports - EIA RS485 & EIA RS485 / IRIG-B (demodulated) (Model 'B' only) | Two ports - EIA RS485 & EIA RS485 / IRIG-B (demodulated)
| 1 | 1
| * | *
| * | *
| * | *
Mounting | 20TE Flush (no function keys, 4 programmable LEDs) | 20TE Flush (no function keys, 4 programmable LEDs)
| Software only | Software only
| B | B
| 0 | 0
| 0 | 0